# Chino Hills 500kV powerline (WBS)

## 1. Project Management

## 1.1 Issue project charter

## Regulatory & Environmental Services and Permits

- 1.1 Regulatory Permits

  - 1.1.1 CPUC approvals

  - 1.1.2 City of Chino Hills right-of-way permits

- 1.2 Environmental Compliance Planning

## 2. Design & Prototype

- 2.1 Corridor Identification

  - 2.1.1 Route alignment

  - 2.1.2 Seismic design & load studies

- 2.2 Civil & Structural Design

  - 2.2.1 Footing design

  - 2.2.2 Tower structure design

- 2.3 Electrical & Protection Design

  - 2.3.1 Cable sizing & specification

  - 2.3.2 Grounding system design

  - 2.3.3 Relay/protection coordination

## 3. Materials Procurement

- 3.1 Vendor Qualifications

  - 3.1.1 Cable manufacturer testing

  - 3.1.2 Civil contractor pre-qualification

- 3.2 Order material

## 4. Site Easement

- 4.1 Site Preparation

  - 4.1.1 Surveying & staking

  - 4.1.2 Clearing & grading

- 4.2 Tower Construction

  - 4.2.1 Tower structure construction

  - 4.2.2 Tower structure Assembly

## 5. Cable Installation

- 5.1 Cable Pulling

  - 5.1.1 Cable drum delivery & setup

  - 5.1.2 Cable pulling operations

- 5.2 Cable Splicing

- 5.3 Cable Testing

  - 5.3.1 High-voltage withstand test

  - 5.3.2 Partial discharge test

## 6. Commissioning & Closeout

- 6.1 System Energization

  - 6.1.1 Pre-energization checklist

  - 6.1.2 Energization testing

- 6.2 Project Closeout

  - 6.2.1 As-built documentation

  - 6.2.2 Lessons learned & continuous improvement report

Identifying the organization/PM structure:

For this project, SCE would most likely adopt a Balanced Matrix Structure because:

- It requires cross-functional integration: Engineering, Civil Construction, Procurement, Regulatory, and Community Relations all have critical roles.

- The project is time-constrained (must align with California’s 33% renewable energy goal by 2020).

- A dedicated Project Manager is needed to keep schedule, but functional groups retain technical authority.

- Stakeholder oversight (CPUC, city permits, community relations) requires both centralized leadership and departmental expertise.

# Outline of the Change Control Process

The change control process will be controlled through a change control database application which will keep track of the following:

Unique change request IDs

Description of the Change Request

Status of the Change Request

Date the request was opened

Date the request was last updated

Date the request was closed/completed

Date request must be decided on (if applicable)

Approximate Cost of the change

Approximate delay caused by the change

Who requested the change

Who is assigned to bring the request through to closure/completion

Comments on the change

Relevant documents to the requested change

Priority of the change

Proposed funding source

Reason for the change

Approvals

Every change will need to be approved first by the functional manager of the department responsible. The request will then be moved to the project manager to filter and prioritize projects. They will then be routed to the management of SoCal Edison, stakeholders (CPUC, city of chino hills, appropriate vendors), before finally being approved for closure/completion by the project manager after integration with the overarching project.

This database will have an interface available to as many SoCal Edison employees and managers engaged on this project as possible, managers, vendor representatives, and stakeholder representatives to enter change requests.

1. Project Management

- 1.1 Issue Project charter

- 1.2 Create Scope of Work

2. Regulatory & Environmental

- 2.1 Regulatory Permits

- 2.2 Environmental Compliance planning

3. Prototypes and Designs

- 3.1 Corridor Identification

- 3.1.1 Route alignment

- 3.1.2 Seismic design & load studies

- 3.2 Civil & Structural Design

- 3.2.1 Footing design

- 3.2.2 Tower structure design

- 3.3 Electrical & Protection Design

- 3.3.1 Cable sizing & specification

- 3.3.2 Grounding system design

- 3.3.3 Relay/protection coordination

4. Materials Procurement

- 4.1 500kV cable procurement

- 4.2 Tower Structural Materials

5. Site Easement

- 5.1 Site Preparation

- 5.1.1 Surveying & staking

- 5.1.2 Clearing & grading

- 5.2 Tower Construction

- 5.2.2 Tower structure construction

- 5.2.3 Tower structure Assembly

6. Cable Installation

- 6.1 Cable Pulling

- 6.1.1 Cable drum delivery & setup

- 6.1.2 Cable pulling operations

- 6.1.3 Cable Splicing

- 6.1.4 Cable Testing

7. Commissioning & Closeout

- 7.1 System Energization

- 7.1.1 Pre-energization checklist

- 7.1.2 Energization testing

- 7.2 Project Closeout

- 7.2.1 As-built documentation

- 7.2.2 Lessons learned Report